Section __________

MECHANICALLY STABILIZED EARTH (MSE) RETAINING WALL

(Modular Block and Extensible Geogrid Reinforcement)

PART 1:	GENERAL

1.01	Description

A.	The work under this section consists of designing, furnishing all materials and constructing Mechanically Stabilized Earth (MSE) retaining walls using extensible reinforcement and modular blocks in accordance with AASHTO guidelines, these specifications and in compliance with the lines and grades, dimensions and details shown on the project plans and as directed by the Engineer.

B.	Work includes preparing foundation soil, furnishing and installing leveling pad, unit drainage fill and backfill to the lines and grades shown on the working drawings.

C.	Work includes furnishing and installing modular blocks and geogrid soil reinforcement of the type, size, location, and lengths designated on the working drawings.

1.02	Related Sections

A.	Section _________ - Earthwork

1.03	Reference Documents

- Highway Design Specifications and Guidelines

1.	AASHTO LRFD Bridge Design Standard Specifications, Fifth Edition, including current interim specifications (2010)

2.	FHWA Design and Construction of Mechanically Stabilized Earth Walls and Reinforced Soil Slopes, Publication No. FHWA-NHI-10-02W

3	FHWA Corrosion/Degradation of Soil Reinforcements for Mechanically Stabilized Earth Walls and Reinforced Soil Slopes, Publication No. FHWA-NHI-09-087

- American Society for Testing and Materials (ASTM)

1. 	ASTM C140	Standard Test Methods for Sampling and Testing Concrete Masonry Units and Related Units

2.	ASTM C1262	Standard Test Method for Evaluating the Freeze-Thaw Durability of Dry-Cast Segmental Retaining Wall Units and Related Concrete Units

3.	ASTM C1372	Standard Specification for Dry-Cast Segmental Retaining Wall Units

4.	ASTM D3034	Standard Specification for Type PSM Poly Vinyl Chloride (PVC) Sewer Pipe and Fittings

5.	ASTM D4595	Standard Test Method for Tensile Properties of Geotextiles by the Wide-Width Strip Method

6.	ASTM D5262	Standard Test Method for Evaluating the Unconfined Tension Creep and Creep Rupture Behavior of Geosynthetics

7.	ASTM D5818	Standard Practice for Exposure and Retrieval of Samples to Evaluate Installation Damage of Geosynthetics

8.	ASTM D6637	Standard Test Method for Determining Tensile Properties of Geogrids by the Single or Multi-Rib Tensile Method

9.	ASTM D6638	Standard Test Method for Determining Connection Strength Between Geosynthetic Reinforcement and Segmental Concrete Units (Modular Concrete Blocks)

10.	ASTM D6706	Standard Test Method for Measuring Geosynthetic Pullout Resistance in Soil

11.	ASTM D6916	Standard Test Method for Determining the Shear Strength Between Segmental Concrete Units (Modular Concrete Blocks)

C.	American Association of State Highway and Transportation Officials (AASHTO)

1.	AASHTO M252	Standard Specification for Corrugated Polyethylene Drainage Pipe

2.	AASHTO M288	Standard Specification for Geotextile Specification for Highway Applications

D.	American Society for Testing and Materials (ASTM) and

American Association of State Highway and Transportation Officials (AASHTO)

1.	ASTM C88 / AASHTO T104

Standard Test Method for Soundness of Aggregates by Use of Sodium Sulfate or Magnesium Sulfate

2.	ASTM C136 / AASHTO T27

Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates

3.	ASTM D698 / AASHTO T99

Standard Test Methods for Laboratory Compaction Characteristics of Soil Using Standard Effort (12,400 ft-lbf/ft3 (600 kN-m/m3))

4.	ASTM D1557/ AASHTO T180

Standard Test Methods for Laboratory Compaction Characteristics of Soil Using Modified Effort (56,000 ft-lbf/ft3 (2,700 kN-m/m3))

5.	ASTM D422 / AASHTO T88

Standard Test Method for Particle-Size Analysis of Soils

6.	ASTM D2974 / AASHTO T267

Standard Test Methods for Moisture, Ash, and Organic Matter of Peat and Other Organic Soils

7.	ASTM D3080 / AASHTO T236

Standard Test Method for Direct Shear Test of Soils Under Consolidated Drained Conditions

8.	ASTM D4318 / AASHTO T89/90

Standard Test Methods for Liquid Limit, Plastic Limit, and Plasticity Index of Soils

9.	ASTM D4972 / AASHTO T289

Standard Test Method for pH of Soils

1.04	Approved Wall Systems

A.	The contractor shall select one of the pre-approved earth retaining systems to be constructed for the MSE walls designated on the plans from the list below:

1.	KeyGrid Retaining Wall System by Keystone Retaining Wall Systems, Inc.

2.

3.

B.	The features of the system furnished, including design and configuration of precast elements, fasteners, connections, soil reinforcements, geotextile filter, and other necessary components, shall be those that have been pre-approved.

- Heights, depths, and lengths of MSE retaining wall systems may vary from, but shall not be less than those shown on the plans.  The height and length to be used for any system shall be the minimum for that system that will effectively retain the earth behind the wall for the loading conditions and the contours, profile, or slope lines shown on the plans, or on the approved working drawings, and in accordance with all relevant internal and external stability design criteria.

1.05	Submittals (Qualifications, Working Drawings, and Design)

A.	Contractor shall provide a minimum of 100,000 square feet of documented installation experience of the selected retaining wall system based on a minimum of five similar projects of comparable height and complexity to that proposed on this project within the last 3 years.

B.	Contractor shall provide design drawings and calculations prepared, signed and sealed by a registered Professional Engineer licensed in the state of the project.  The design engineer shall have at least 5 years of documented experience in the design of highway MSE structures. The contractor shall provide proof of the engineer’s experience and proof of current Architects & Engineers Professional Liability insurance coverage (E&O) of not less than $2,000,000 per occurrence.

C.	The contractor shall submit complete working drawings and specifications for each installation of the system in accordance with the requirements of this section. Drawings shall include the following at a minimum:

- A plan view of the wall(s) identifying beginning and end of each wall and relevant offsets and stations for wall alignment.

- Elevation views of walls that depict existing and finish grade profiles both behind and in front of the wall, bottom and top of wall elevations, leveling pad, reinforcement type, length, and locations.

- Detailed sections of each wall at each design section geometry.

- Details of all elements and components of the wall system.

- Details and dimensions for wall appurtenances such as barriers, guardrails, coping, drainage gutters, fences, signage, etc.

- Details for constructing walls around utilities and drainage facilities (if applicable).

- General notes for constructing the wall including construction sequencing, wall excavation, foundation preparation, wall erection, backfill placement and any other special construction requirements.

D.	The MSE wall design calculations and submittals shall be submitted with the working drawings and prepared in accordance with AASHTO LRFD Bridge Design Standard Specifications, Fifth Edition, including current interim specifications (2010). Referenced FHWA guide documents may be used to supplement AASHTO specifications as required but AASHTO shall govern in case of conflict.

To further clarify the design requirements, the following additions and/or clarifications of AASHTO shall apply:

1.	The minimum length of reinforcement shall be 8’. For small walls (<8’) not supporting roadways, the minimum reinforcement length may be reduced to 6’ as noted in the design plans. All reinforcement shall be the same length in a single section.

2.	The required minimum wall embedment is 2 feet as measured from the finished ground surface to the bottom of wall or top of leveling pad. For small walls (<8’), not supporting roadways and with level and well-defined toe conditions, the minimum embedment may be reduced to 1’ as noted in the design plans.

3.	Additional embedment will be required for sloping toes based on providing a 4’ level bench in front of walls.

4.	The maximum vertical spacing of the soil reinforcement shall be 2.0 feet. The uppermost and lowest reinforcement levels shall be not more than 16” from top and bottom of wall respectively.

5.	Extensible reinforcement coverage shall be 100% (no gaps) and the facing connection shall connect a minimum of 85% of the reinforcement width to the facing units.

6.	All connections and related components shall be evaluated strictly in accordance the AASHTO LRFD Specifications and long-term sustained load connection testing is required to establish the appropriate reduction factors.

7.	The uppermost and lowest reinforcement levels shall be not more than 16” from top and bottom of wall respectively, not including caps or copings, when the design analysis permits.

8.	Maximum concrete water absorption per ASTM C-140 shall be ( 7% in areas where freeze-thaw testing is not required.

1.06	Design Parameters

A.	Use the following soil properties and criteria to design the MSE wall(s):

1	Design life ( 75 years

2.	Soil Zone			(’	c’       Unit weight

Reinforced			34(	0	125 pcf

Retained	Long Term	30(	0	125 pcf

Short Term	-	-	  --- pcf

Foundation	Long Term	30(	0	120 pcf

Short Term	0(	1200	120 pcf

3.	The maximum factored bearing capacity is 6000 PSF

4.	The maximum expected total settlement is 4”.

5.	The maximum expected differential settlement 2” in 100’

6	The minimum length or B/H ratio to satisfy global stability is 8’ or B = 0.70H or as shown on the design plans.

7.	Owner’s engineer evaluated the proposed wall layout and determined that adequate external factors of safety exist for global stability and bearing capacity based on the criteria set forth in the specifications or contract plans.  However, the wall designer shall check compound stability of tiered structures and meet a minimum factor of safety of 1.30 (resistance factor of 0.75).

1.07	Material Submittals

A.	Contractor shall submit all concrete testing results required by the specifications for the modular concrete units or precast facing panels furnished to the project.

B.	Contractor shall submit all mill test reports, steel certifications, and galvanizing certifications required by the specifications for all steel products furnished to the project.

C.	Contractor shall submit any certifications or testing required for miscellaneous items such as geotextiles, drainage pipes, bolts, pins, etc. when required.

1.08	Delivery, Storage and Handling

A.	Contractor shall check all materials upon delivery to assure that the proper type, grade, color, and certification have been received.

B.	Contractor shall protect all materials from damage due to jobsite conditions and in accordance with manufacturer's recommendations.  Damaged materials shall not be incorporated into the work.

PART 2:	PRODUCTS

2.01	Definitions

A.	Modular Wall Unit - a concrete retaining wall element machine made from Portland cement, water, and aggregates.

B.	Extensible Geogrid - a structural element formed by a regular network of integrally connected tensile elements with apertures of sufficient size to allow interlocking with surrounding soil, rock, or earth and function primarily as reinforcement.

C.	Unit Drainage Fill - drainage aggregate that is placed within and immediately behind the Modular wall concrete units.

D.	Reinforced Backfill - compacted soil that is placed within the reinforced soil volume as outlined on the plans.

2.02	Modular Concrete Retaining Wall Units

A.	Modular concrete materials shall conform to the requirements of ASTM C1372 - Standard Specifications for Segmental Retaining Wall Units. Freeze-thaw testing per ASTM C1262 shall be performed when required. Modular concrete unit testing per ASTM C140 shall be done for each project and a minimum of one test series is required for each production lot of 10,000 units or less. When required, freeze-thaw testing per ASTM C1262 shall have been performed within 24 months of the project submittals and submitted with project specific testing results.

- Modular concrete units shall conform to the following architectural requirements:

- Face color - concrete gray, unless otherwise specified. The Owner may specify standard manufacturers’ color.

- Face finish - sculptured rock face in angular tri-planer configuration. Other face finishes will not be allowed without written approval of Owner.

- Bond configuration - running with bonds nominally located at midpoint vertically adjacent units, in both straight and curved alignments;.

4.	Exposed surfaces of units shall be free of chips, cracks or other imperfections when viewed from a distance of 10 feet (3 m) under diffused lighting.

C.	Modular concrete units shall conform to the following structural and geometric requirements measured in accordance with ASTM C140 and as described below:

- Compressive strength: ( 4000 psi.

- Absorption: ( 5 % for standard weight aggregates; ( 7 % when saturated freeze-thaw testing is not required.

- Dimensional tolerances: ± 1/8" from nominal unit dimensions not including rough split face, ±1/16" unit height  - top and bottom planes.

- Unit size: nominally 1 SF in face area and 1 ft. in depth.

- Unit weight: 75-lbs/unit minimum for standard weight aggregates.

- Unit Density: 125 pcf minimum.

D	Modular concrete units shall conform to the following constructability requirements:

- When required on the project plans, the wall facing system shall be able to provide a near vertical setback, approximating a 1H:32V to 1H:64V wall batter.

- When required on the project plans, the wall facing system shall be able to provide a battered setback, approximating a 1H:8V± wall batter.

- When wall batter is not a geometrical layout concern, the design wall batter may be between vertical and 8 degrees.

2.03	Connection/Alignment Devices

A.	Any connectors, pins, and alignment hardware required shall meet the requirements of the manufacturer based on the approved system requirements for this project.

2.04	Base Leveling Pad Material

A.	Material shall consist of a compacted crushed stone base or non-reinforced concrete as shown on the construction drawings.

2.05	Unit Drainage Fill

A.	Unit drainage fill shall consist of clean 1” (25 mm) minus crushed stone or crushed gravel meeting the following gradation tested in accordance with ASTM C136/AASHTO T27 or ASTM D422/AASHTO T88:

Sieve Size	Percent Passing

1 inch (25 mm)	  100

3/4-inch  (19 mm)	75 - 100

No. 4  (4.75mm)	 0 - 10

No. 50 (300um)	  0 - 5

B.	Drainage fill shall be placed within the cores of, between, and behind the units as indicated on the design drawings. The drainage fill zone shall extend a minimum of 24 inches back from the wall face.

2.06	Reinforced Backfill

A.	Reinforced backfill shall be free of debris and meet the following gradation tested in accordance with ASTM D-422/AASHTO T88:

Sieve Size	Percent Passing

1 inch (25mm)	       100

3/4-inch (19 mm)	     95-100

No. 40  (425um)	      0 - 60

No. 200  (75um)	      0 – 15

Plasticity Index (PI) <6 per ASTM D-4318/AASHTO T89/90

pH shall be between 5 and 10 per ASTM D4972/AASHTO T289

Effective shear strength ≥ 34 degrees per ASTM D3080 /AASHTO T236

B.	The maximum aggregate size shall be limited to 3/4 inch (19 mm) unless field tests have been performed to evaluate potential strength reductions to the geogrid design due to damage during construction.

C.	The material shall exhibit an effective angle of internal friction of not less than 34 degrees, as determined by the standard Direct Shear Test, ASTM D3080/AASHTO T236, on the portion finer than the #10 sieve, utilizing a sample of material compacted to 95 percent of ASTM D698/ AASHTO T-99, Methods C or D (with oversized correction as outlined in Note 7) at optimum moisture content. No testing is required for select material where 80% of sizes are greater than ¾ inch.

D.	The materials shall be substantially free of shale or other soft, poor durability particles. The material shall have a magnesium sulfate soundness loss of less than 30 percent after four cycles as determined in accordance with ASTM C88/AASHTO T104. The organic content of the backfill shall be less than one (1) percent as determined in accordance with ASTM C2974/AASHTO T267.

C.	Contractor shall submit reinforced fill sample and laboratory test results to the Engineer for approval prior to the use of any proposed reinforced fill material.

2.07	Geogrid Soil Reinforcement

A.	Geosynthetic reinforcement shall consist of geogrids manufactured specifically for soil reinforcement applications and shall be manufactured from high tenacity polyester yarn or high-density polyethylene. Polyester geogrid shall be fabricated from high tenacity polyester filament yarn with a molecular weight exceeding 25,000 g/m and a carboxyl end group values less than 30. Polyester geogrid shall be coated with an impregnated PVC coating that resists peeling, cracking, and stripping.

B.	Ta, Long Term Allowable Tensile Design Load, of the geogrid material shall be determined as follows:

Ta = Tult / (RFcr*RFd*RFid*FS)

Ta shall be evaluated based on a 75-year design life.

1.	Tult, Short Term Ultimate Tensile Strength shall be determined in accordance with ASTM D4595 or ASTM D6637.

Tult is based on the minimum average roll values (MARV).

2.	RFcr, Reduction Factor for Long Term Tension Creep

RFcr shall be determined from 10,000-hour creep testing performed in accordance with ASTM D5262. Reduction value = 1.50 minimum.

3.	RFd, Reduction Factor for Durability

RFd shall be determined from polymer specific durability testing covering the range of expected soil environments. RFd = 1.15 minimum.

4.	RFid, Reduction Factor for Installation Damage

RFid shall be determined from product specific construction damage testing performed in accordance with ASTM D5818.  Test results shall be provided for each product to be used with project specific or more severe soil type.  RFid = 1.10 minimum.

C.	The maximum design tensile load of the geogrid shall not exceed the laboratory tested ultimate strength of the geogrid/facing unit connection based on ASTM D6638 Connection Strength between Geosynthetic Reinforcement and Modular Concrete Units as adjusted for long term connection load testing performed per AASHTO/FHWA requirements.

D.	Soil Interaction Coefficient, Ci

Ci values shall be determined per ASTM D6706 at a maximum 0.75-inch (19 mm) displacement.

E.	Manufacturing Quality Control

The geogrid manufacturer shall have a manufacturing quality control program that includes QC testing by an independent laboratory.

The QC testing shall include:

Tensile Strength Testing

Melt Flow Index (HDPE)

Molecular Weight (Polyester)

2.08	Drainage Pipe

A.	Drainage pipe shall be perforated or slotted PVC pipe manufactured in accordance with ASTM D-3034 or corrugated HDPE pipe manufactured in accordance with AASHTO M252.

2.09	Geotextile Filter Fabric

A.	When required, geotextile filter fabric shall be 4.0 oz/sy, polypropylene, needle punched nonwoven fabric meeting the requirements of AASHTO M288

PART 3:	EXECUTION

3.01	Excavation

A.	Contractor shall excavate to the lines and grades shown on the construction drawings.  Owner's representative shall inspect the excavation and approve prior to placement of leveling material or fill soils.  Proof roll foundation area as directed to determine if remedial work is required.

3.02	Base Leveling Pad

A.	Leveling pad material shall be placed to the lines and grades shown on the construction drawings, to a minimum thickness of 6 inches and extend laterally a minimum of 6" in front and behind the modular wall unit.

B.	Soil leveling pad materials shall be compacted to a minimum of 95 % Standard Proctor density per ASTM D-698/AASHTO T99 or 92% Modified Proctor Density per ASTM D1557/AASHTO T180

C.	Leveling pad shall be prepared to insure full contact to the base surface of the concrete units.

3.03	Modular Unit Installation

A.	First course of units shall be placed on the leveling pad at the appropriate line and grade.  Alignment and level shall be checked in all directions and insure that all units are in full contact with the base and properly seated.

B.	Place the front of units side-by-side.  Do not leave gaps between adjacent units.  Layout of corners and curves shall be in accordance with manufacturer's recommendations.

C.	Install shear/connecting devices per manufacturer's recommendations.

D.	Place and compact drainage fill within and behind wall units.  Place and compact backfill soil behind drainage fill.  Follow wall erection and drainage fill closely with structure backfill.

E.	Maximum stacked vertical height of wall units, prior to unit drainage fill and backfill placement and compaction, shall not exceed two courses.

3.04	Structural Geogrid Installation

A.	Geogrid shall be oriented with the highest strength axis perpendicular to the wall alignment.

B.	Geogrid reinforcement shall be placed at the strengths, lengths, and elevations shown on the construction design drawings or as directed by the Engineer.

C.	The geogrid shall be laid horizontally on compacted backfill and attached to the modular wall units.  Place the next course of modular concrete units over the geogrid.  The geogrid shall be pulled taut, and anchored prior to backfill placement on the geogrid.

D.	Geogrid reinforcements shall be continuous throughout their embedment lengths and placed side-by-side to provide 100% coverage at each level.  Spliced connections between shorter pieces of geogrid or gaps between adjacent pieces of geogrid are not permitted.

3.05	Reinforced Backfill Placement

A.	Reinforced backfill shall be placed, spread, and compacted in such a manner that minimizes the development of slack in the geogrid and installation damage.

B.	Reinforced backfill shall be placed and compacted in lifts not to exceed 6 inches hand where compaction is used, or 8 - 10 inches where heavy compaction equipment is used.  Lift thickness shall be decreased to achieve the required density as required.

C.	Reinforced backfill shall be compacted to a minimum of 95 % Standard Proctor density per ASTM D-698/AASHTO T99 or 92% Modified Proctor Density per ASTM D1557/AASHTO T180.  The moisture content of the backfill material prior to and during compaction shall be uniformly distributed throughout each layer and shall be dry of optimum, + 0%, - 3%.

D.	Only lightweight hand-operated equipment shall be allowed within 3 feet (1 m) from the tail of the Keystone concrete unit.

E.	Tracked construction equipment shall not be operated directly upon the geogrid reinforcement.  A minimum fill thickness of 6 inches is required prior to operation of tracked vehicles over the geogrid.  Tracked vehicle turning should be kept to a minimum to prevent tracks from displacing the fill and damaging the geogrid.

F.	Rubber tired equipment may pass over geogrid reinforcement at slow speeds, less than 10 MPH.  Sudden braking and sharp turning shall be avoided.

G.	At the end of each day's operation, the Contractor shall slope the last lift of reinforced backfill away from the wall units to direct runoff away from wall face.  The Contractor shall not allow surface runoff from adjacent areas to enter the wall construction site.

3.06	Cap/Coping Installation

A.	When shown on the plans, cap units may be used and shall be securely glued to underlying units with an all-weather adhesive recommended by the manufacturer.

B.	When required, CIP copings/barriers shall be formed in place as shown in the working drawings and constructed in a manner that does not disturb the facing alignment or negatively affect the wall performance.

3.07	As-built Construction Tolerances

A.	Vertical alignment: ± 1.5" over any 10' distance.

B.	Wall Batter: within 2 degrees of design batter but not past vertical or 0 deg.

C.	Horizontal alignment: ± 1.5" over any 10' distance.

Corners, bends & curves: ± 1 foot to theoretical location.

D.	Maximum horizontal gap between erected units shall be ( 1/2 inch.

3.08	Field Quality Control

A.	Quality Assurance - The Owner shall/may engage inspection and testing services, including independent laboratories, to provide quality assurance and testing services during construction.  This does not relieve the Contractor from securing and scheduling the necessary construction quality control testing.

B.	Quality Assurance should include foundation soil inspection, verification of geotechnical design parameters, and verification that the contractor’s quality control is adequate as a minimum.  Quality assurance shall also include observation of construction for general compliance with design drawings and project specifications.

C.	Quality Control testing shall include soil and backfill testing to verify soil types and compaction and verification that the retaining wall is being constructed in accordance with the design plans and project specifications.

PART 4:	MEASUREMENT AND PAYMENT

4.01	Measurement

A.	Modular Mechanically Stabilized Earth (MSE) retaining walls will be measured per square foot of wall face, complete and in-place, from top of leveling pad to top of wall units or as described in the design plans.

4.02	Payment

A.	Modular MSE wall shall be paid at the contract unit price, which shall be full compensation for furnishing and installing all materials, including face units, leveling pad, excavation, reinforced backfill, soil reinforcement, and any incidentals necessary to complete the work and providing the MSE wall design.

B.	Pay Item						Measurement Unit

Design, Furnish and Construct MSE Walls		 SQUARE FOOT